## Slide 1: Improvement of Power using Direct Current Control method of STATCOM
VIIl Semester Session 2018-19
Group No: A-7 Section: A
Presented By
Guided by TRIPTI RAI
RAJIV GANDHI COLLEGE OF ENGINEERING & RESEARCH, NAGPUR Department Of Electrical Engineering
Presubmission Seminar
2018-19
Pankaj Dhongale 5. Tinkesh Bhanarkar
2. Piyush Ganorkar 6. Toshik Ghormare
3. Sanjyot Ramteke 7. Tushar Giripunje
4. Takshak Raul

## Slide 2
The grid connected transmission line system
for power quality improvement by using STATCOM has
the following objectives.
To maintains Power factor as Unity at the Source end.
To meet the Reactive Power to Non-Linear Load.
To eliminate the harmonic contents by using STATCOM .
Objectives

## Slide 3: Methodology (Concept used to achieve results)
  Existing Methodology
Proposed Methodology

## Slide 4: Block Diagram/Circuit Diagram/Model/System Details/Single Line Diagram
Iq
U
Udc
Idc
Cdc

## Slide 5: Result
FFT Un-Compensated
FFT Compensated
Fundamental(50Hz) = 20.51
THD= 21.54%
Fundamental(50Hz) = 37.95
THD= 7.28%

## Slide 6: Result
A | B | C
21.55% | 21.70% | 21.53%
A | B | B
0.7871 | 0.6387 | 0.6873
A | B | C
7.27% | 7.36% | 6.87%
A | B | C
0.9201 | 0.8517 | 0.8966
FFT ANALYSIS | POWER FACTOR
BEFORE COMPENSATION
AFTER COMPENSATION

## Slide 7: VI Measurement
Un-Compensated

## Slide 8
Compensated

## Slide 9: Conclusion
Notes:   Stator flux decaying exponentially & Terminal voltage of DFIG reduced as,
𝛹_𝑠= 𝛹_0 𝑒^((−𝑡)/𝜏_𝑠 )
Where, 𝛹_0 is the initial value of the flux at the instant of dip and 𝜏_𝑠=𝐿_𝑠/𝑅_𝑠 is time constant of the stator
Unbalance in stator & rotor power results in DC link voltage fluctuation.
Converter circuit may damage.
Hardware protection schemes are required to limit overvoltage( DC Link) and overcurrent (Rotor circuit) such as;
  DC chopper circuit &
  Crowbar resistance in rotor circuit

## Slide 10: References
The Direct Current Control Method of STATCOM and its simulation.2013 Third International Conference on Intelligent System Design and Engineering Applications.
Nagrani G. Hingorani , Laszio Gyugyi. Understanding of FACTS Concepts and Technology of Flexible AC Transmission System . IEEE Press 1999.
Using STATCOM Interfacing of Renewable Energy Sources to Grid and Power Quality Improvement. 2015 International Conference on Energy System and Applications.
P.S. Bhimra , Power Electronics.
Improvement of Voltage Quality in AC Network by use of STATCOM -2005Mazurov M.I.,Nikolaev A.V.,Lozinova N.G