## Slide 1: Improvement of Power using Direct Current Control method of STATCOM
RAJIV GANDHI COLLEGE OF ENGINEERING & RESEARCH, NAGPUR Department Of Electrical Engineering
seMinar on
VII Semester Session 2018-19
Group No: A-7 Section: A
Presented By
Pankaj Dhongale 5. Tinkesh Bhanarkar
2. Piyush Ganorkar 6. Toshik Ghormare
3. Sanjyot Ramteke 7. Tushar Giripunje
4. Takshak Raul
Under Guide of
TRIPTI RAI

## Slide 2
CONTENTS
INTRODUCTION
PROGRESS CARRIED OUT TILL DATE
PLAN FOR VIII SEMESTER
REFERENCES

## Slide 3: OBJECTIVE
The grid connected transmission line system
for power quality improvement by using STATCOM has
the following objectives.
• To maintains power factor as unity at the source end.
• To meet the reactive power to non-linear load.
• To eliminate the harmonic contents by using STATCOM .

## Slide 4: INTRODUCTION
With the rapid development of industry, the requirements of electric power quality are becoming stricter.
Improvement in the reliability, controllability and rapidity of modern power system has become a urgent problem to be solved.
Reactive power and voltage regulation are the major issues in power system operation.
Power quality mainly deals with,
• Continuity of power supply.
•Quality of the voltage.
Various power quality problems may leads to another
undesirable problems like voltage variations, harmonics, flickers.

## Slide 5
• So, in order to mitigate this problems, Flexible Alternating Current Transmission System (FACTS) is used to enhance controllability and increase power transfer capability of the network.
• Series Devices - SSSC,TCSC
• Shunt Devices - STATCOM,SVC
• Series-series devices - IPFC,UPFC
• Series-shunt devices - HVDC link
• So, in order to improve power quality by reducing all such problems STATCOM is used .
In this project, we generally focued on STATCOM and it’s working in transmission line.

## Slide 6
Controller
DC Energy Source
Voltage
Source
Converter
Coupling
Transformer
UT
Iq
U
Udc
Idc
Cdc
CIRCUIT DIAGRAM

## Slide 7
Progress Carried Out Till Date
SIMULATION BEFORE COMPENSATION

## Slide 8
Output Waveforms Before Compensation

## Slide 9: Plan for VIII Semester
Construction of STATCOM model
Simulation after compensation

## Slide 10
REFERENCES
The Direct Current Control Method of STATCOM and its simulation.2013 Third International Conference on Intelligent System Design and Engineering Applications.
Nagrani G. Hingorani , Laszio Gyugyi. Understanding of FACTS Concepts and Technology of Flexible AC Transmission System . IEEE Press 1999.
Using STATCOM Interfacing of Renewable Energy Sources to Grid and Power Quality Improvement. 2015 International Conference on Energy System and Applications.
P.S. Bhimra , Power Electronics.
Improvement of Voltage Quality in AC Network by use of STATCOM -2005Mazurov M.I.,Nikolaev A.V.,Lozinova N.G

## Slide 11
THANK YOU